**The Levett School**

**Premises Management & Building Security Policy**

|  |  |
| --- | --- |
| ***Policy agreed by Management Committee on:*** | 01.07.2025 |
| ***Review date for Management Committee:*** | 01.07.2026 |
| ***Allocated Group/Person to Review:*** | SBM / Headteacher |
| ***Agreed frequency of Review, by allocated person:*** | Annually |
| ***Last Review date:***  | April 2025 |

**Lower School, Melton Road, Sprotbrough, Doncaster, DN5 7SB**



**Contents**

[Statement of intent](#_Statement_of_intent_1)

1. [Legal framework](#_Legal_framework_1)
2. [Roles and responsibilities](#_[Updated]_Roles_and)
3. [Asbestos](#_Asbestos)
4. [Water supply](#_Water_supply)
5. [Temperature](#_[New]_Temperatures)
6. [Toilet and washing facilities](#_Toilet_and_washing)
7. [Accessibility](#_Accessibility)
8. [Drainage](#_Drainage)
9. [Lighting](#_Lighting)
10. [Security](#_Security)
11. [Weather](#_Weather)
12. [Evacuations, lockdowns and evacuations](#_Invacuations_and_evacuations)
13. [Suitability](#_Suitability)
14. [Fire safety](#_Fire_safety)
15. [Catering](#_Catering)
16. [Cleaning](#_Cleaning)
17. [Acoustics](#_Acoustics)
18. [Maintenance](#_Maintenance)
19. [Furnishings](#_Furnishings)
20. [Grounds](#_Grounds)
21. [Health and safety audit](#_[Updated]_Health_and)
22. [Electrical testing and inspection](#_Electrical_testing_and)
23. [Other equipment, systems and storage](#_[New]_Other_equipment,)
24. [Gas](#_Gas)
25. [Monitoring and review](#monitoring)

**Statement of intent**

The Levett School has a duty to ensure that buildings under its control comply with the statutory and regulatory standards.

The school will consider each building’s:

* **Condition:** focussing on the physical state of the premises to ensure safe and continuous operations, as well as other issues involving building regulations and other non-education centric statutory requirements.
* **Suitability:** focussing on the quality of the premises to meet curriculum or management needs and other issues impacting on the role of the school in raising educational standards.

**Legal framework**

This policy has due regard to all relevant legislation and guidance including, but not limited to, the following:

* Statutory Premises Management Documents
* Health and Safety at Work etc. Act 1974
* School Standards and Framework Act 1998
* The Lifting Operations and Lifting Equipment Regulations 1998 (LOLER)
* The Management of Health and Safety at Work Regulations 1999
* The Education (School Premises) Regulations 1999
* Equality Act 2010
* The Control of Asbestos Regulations 2012
* The School Premises (England) Regulations 2012
* DfE (2015) ‘Advice on standards for school premises’
* DfE (2023) ‘Site security guidance’
* DfE (2023) ‘Managing asbestos in your school’
* DfE (2022) ‘First aid in schools, early years and further education’
* DfE (2022) ‘Health and safety: responsibilities and duties for schools’
* DfE (2023) ‘Good estate management for school (GEMs)’
* DfE (2023) ‘Good estate management for schools: estate management competency framework
* DfE (2023) ‘Keeping children safe in education 2023’
* DfE (2023 ‘Emergency planning and response for education, childcare, and children’s social care settings’

This policy operates in conjunction with the following school policies:

* Asbestos Management Policy
* Asbestos Management Plan
* Accessibility Policy
* Accessibility Plan
* Invacuation, Lockdown and Evacuation Policy
* Health and Safety Policy
* Fire Safety Policy
* Legionella Health and Safety Policy

**Roles and responsibilities**

The Management Committee and the headteacher are responsible for:

* The overall implementation of this policy.
* Taking a strategic approach to the management of the school’s land and buildings, in line with business planning objectives.
* Having the right plans and documents in place to help create an environment that supports good teaching and learning.
* Ensuring the school’s policies and procedures help to manage the estate effectively and efficiently.
* Using the knowledge of the school estate to inform strategic planning and decision-making.
* Delivering effective performance management across the estate.
* Ensuring energy, water and other resources are used efficiently and waste is kept to a minimum.
* Ensuring the school estate is safe for all users.
* Ensuring that the condition of the school estate and supporting policies fully comply with relevant legislation and regulatory standards.
* Ensuring maintenance is effectively planned and prioritised, informed by accurate and up-to-data condition data and the needs of the school’s users.
* Ensuring all estate-related projects are clearly defined, follow approved processes, and use resources to best effect.
* Ensuring all estate-related projects deliver the desired outcomes.
* Ensuring asbestos is managed in line with the Asbestos Management Policy and Asbestos Management Plan.
* Ensuring the school is accessible and suitable for pupils, staff and visitors with disabilities.

The headteacher is also responsible for:

* Reporting any issues with the premises to the site manager, SBM and Management Committee as appropriate.
* Reviewing this policy in liaison with the site manager.
* Ensuring any potential risks are identified, formally recorded, assessed and managed – this should include taking appropriate preventative and protective measures.

The SBM is responsible for:

* Identifying and addressing training needs of operative staff.
* Ensuring operational working practices are actively and consistently applied across the estate that reflect the school’s strategic approach.
* Monitoring, collecting and assisting in producing information for reporting to senior leadership and Management Committee.
* Escalating staff and wider stakeholder complaints to senior leadership.
* Ensuring operative staff carry out their activities in accordance with organisational estate-related policies and procedures.
* Acts promptly to deal with estate issues and condition risks.
* Making sure work is approved and signed off in line with set processes and procedures as necessary.
* Helping to keep track of spending across the estate in line with available budgets.
* Challenging others appropriately where they see wastage and raising with team or manager as appropriate.
* Ensuring recognised financial procedures and practices are being followed.
* Supervising and supporting external contractors on-site to ensure procurement requirements are met.
* Supporting the implementation of business continuity and emergency planning processes.
* Purchasing new equipment and resources for the school.
* Managing the relevant staff members who are responsible for the management of the premises, e.g. the site manager and relief caretaker

The site manager/relief caretaker is responsible for:

* The day-to-day implementation and management of the stipulations outlined in this policy, in collaboration with the headteacher and/or SBM.
* Identifying and escalating concerns about areas for improvement on the school estate.
* Providing basic information about the school estate to senior leadership as appropriate.
* Working within set processes and procedures relating to the management and operation of the estate.
* Assisting and supporting external contractors on site to ensure procurement requirements are met.
* Carrying out, recording and reporting premises walk-arounds and physical inspections on a regular basis.
* Following and ensuring adherence with any statutory guidance and documentation, such as asbestos surveys and registers to ensure no breaches occur.
* Reporting condition and any health and safety issues to appropriate colleagues.
* Checking the school’s compliance with the relevant health and safety and premises management legislation, and reporting any issues to the Management Committee.
* Ensuring that hygiene is maintained at the school, including that the appropriate drainage is in place.
* The security of the school, including locking down the school after-hours and reopening the school.
* Conducting the relevant premises risk assessments, e.g. fire safety.
* Arranging for periodic inspections to take place to comply with the requirements of the Electricity at Work Regulations 1989.

**Asbestos**

The Management Committee, headteacher and site manager will ensure that the school meets its duty to manage asbestos in school.

A duty holder will be appointed who will be responsible for ensuring that asbestos materials are properly managed. The appointed person will be provided with the resources, skills, training and authority required to ensure the asbestos materials are managed effectively.

The school will have an asbestos register, including associated remedial actions, and an Asbestos Management Plan. The site manager will review the school’s Asbestos Management Plan annually, and regularly monitor the effectiveness of asbestos management arrangements to ensure that the risks are controlled. The site manager will ensure that all staff are informed of any asbestos located within the school and, in collaboration with the Management Committee and SBM, will arrange for any necessary repairs to the school regarding asbestos. The site manager and headteacher will ensure that an asbestos survey is undertaken by a qualified contractor whenever necessary and that the outcomes are recorded.

The headteacher will ensure that the stipulations in the Asbestos Management Policy are adhered to at all times. All staff, workers and contractors will receive adequate training and understand the precautions detailed in the Asbestos Management Plan.

**Water supply**

The site manager will ensure that the school’s water supply meets the regulatory requirements by carrying out the necessary checks at appropriate intervals, so that:

* The school has a clean supply of water for domestic purposes, including a supply of drinking water.
* Toilet facilities have an adequate supply of cold water and washbasins, and sinks and showers have an adequate supply of hot and cold water.
* Hot water at the point of use does not pose a scalding risk.

Risks relating to legionella bacteria will be managed by the school in the following ways:

* A competent person will be appointed to take day-to-day responsibility for controlling any identified risks
* Sources of risk will be identified and assessed in line with the HSE’s Approved Code of Practice L8
* The Legionella Health and Safety Policy will be adhered to at all times
* A Legionella Control Scheme (or course of action) for preventing or controlling risks will be implemented and this scheme will be monitored
* Records will be kept of checks conducted to ensure measures in place are effective.
* A legionella risk assessment and the preparation of the course of action will be undertaken by a company which offers these specialist services

**Temperature**

Where there is a below-normal level of physical activity due to ill health or a physical disability, e.g. medical rooms, the heating systems will be able to maintain a temperature of 21°C. Where there is a normal level of physical activity associated with teaching, private study or examinations, the heating systems will be able to maintain a temperature of 18°C. Where there is a high level of physical activity, e.g. PE sports halls, the heating systems will be able to maintain a temperature of 15°C. The school’s heating systems will be capable of maintaining this at a height of 0.5 metres above floor level when the external air temperature is -1°C.

The surface temperature of any radiator, including exposed pipework, that could be touched by a pupil will not exceed 43°C.

Air extract systems will be employed to maintain a safe environment by removing hazardous fumes and dust. Fan heaters will be checked and inspected periodically to check the fan operation and condition of electrical connections. Air conditioning systems will be inspected by an energy assessor at regular intervals, not exceeding five years. Bi-annual checks and an annual maintenance schedule will also be undertaken.

**Toilet and washing facilities**

Toilet and washing facilities will be planned to ensure that handwashing facilities are provided within the vicinity of every toilet and the facilities are properly lit and ventilated. These facilities will be located in areas that provide easy access for pupils and allow for supervision by members of staff, without compromising the privacy of pupils.

In line with the Toilet, Washing and Changing Facilities Risk Assessment, disabled toilets will have a toilet, washbasin and where possible, a shower or wash-down fitting. Disabled toilets will also have a door opening directly onto a circulation space that is not a staircase and can be secured from the inside. Where possible, a number of facilities will be available, to ensure a reasonable travel distance that does not involve changing floor levels. Where possible, shower areas will be separate from toilets, and they will provide adequate privacy.

The SBM will ensure that there are appropriate facilities in place for pupils who are ill, including:

* A room for medical or dental examination.
* A washbasin.

**Accessibility**

The headteacher and SENCO will keep the school’s Accessibility Plan up to date to ensure the premises is accessible to staff, pupils and visitors with disabilities and other specific needs. The Accessibility Plan will include the health and safety needs of individuals with disabilities and other specific needs.

The school will take account of its Accessibility Policy when managing and maintaining the school site.

**Drainage**

The site manager will carry out regular checks to ensure that there is adequate drainage for hygiene purposes and for the disposal of waste water and surface water – external drainage specialists will be called in should problems arise.

The site manager will ensure gutters are regularly cleaned. Ponding on roofs will be dealt with as a matter of urgency as it can cause deterioration of roof finishes and, in severe cases, can overload roofs, contributing to structural failure.

**Lighting**

Lighting will be appropriate for a learning environment; where possible, natural lighting will be used. Adequate views will be available to the outside, to ensure comfort and avoid eye strain, and lighting controls will be easy to use. Blinds or other window covers will be provided, to avoid glare or excessive sunlight.

External lighting will be provided to ensure safe pedestrian movement after dark. Car parks will be well lit. Emergency lighting will be provided for areas which are accessible after dark. Security lighting will be provided around the perimeter of school buildings with dusk-to-dawn lighting on all elevations where there is an entrance door. Lighting will be designed to eliminate potential hiding points.

The site manager will arrange for fixed electrical systems to be tested around the school site. This will cover all of the electrical wiring within the buildings and grounds, including:

* External lighting and supplies.
* Main panels.
* Distribution boards.
* Lighting.
* Socket outlets.
* Air conditioning.
* Other fixed plants.

**Security**

The SBM and site manager will make adequate security arrangements for the grounds and buildings, including, but not limited to, ensuring:

* Each building is securely locked and alarmed each night.
* Each building has a secure entrance.
* The school’s perimeters are sufficiently secure.

The site has internal security to the doors and fobs are issued to staff to allow their movement around the school site.

On activation of the fire alarm all doors are released to enable staff, pupils and visitors to exit the building safely.

Security arrangements regularly reviewed by the SBM, site manager and SLT, that explicitly considers the:

* Location of the school.
* Physical layout of the school.
* Movements needed around the site.
* Arrangements for receiving visitors (all through a main Reception where safeguarding procedures are followed
* Staff and pupil training in security.

This policy addresses the school’s approach to ensuring the safety and security of all staff members, pupils and visitors. The site manager will ensure the school’s security arrangements are adequate for the effective safeguarding of pupils and adhere to the expectations of the DfE, the LA and any local safeguarding partners, where possible.

**Weather**

The site manager will ensure that the school buildings provide reasonable resistance to penetration by rain, snow, wind and moisture from the ground by conducting regular visual checks. Any issues identified will be relayed to the SBM.

**Invacuations, lockdowns and evacuations**

The site manager will ensure there is sufficient access so that emergency invacuations and/or evacuations can be completed safely for all pupils and staff, including those with SEND, by ensuring that all entries and exits are kept clear and unobstructed, and by carrying out regular checks.

To ensure the safety of pupils with SEND, the site manager will liaise with the SENCO to establish the needs of pupils. Any issues will be reported to the Management Committee and SENCO, where appropriate.

When assessing the safety of the school, the Invacuation, Lockdown and Evacuation Policy will be considered, and reviews will be made where necessary. Across the school site the Emergency Procedures for staff and visitors is displayed along with a map showing the exit route should the evacuation of the school be necessary.

**Suitability**

The SBM will maintain the school by referencing the Environmental Health Authority’s appropriate documentation, to avoid being condemned. The SBM and site manager will further ensure that, in terms of the design and structure of school buildings, no areas of the school compromise health and safety, in line with the school’s Health and Safety Policy.

**Fire safety**

School premises, accommodation and facilities will be maintained to a standard that ensures, so far as is reasonable, the health, safety and welfare of pupils and staff, including in relation to fire safety.

Fire risk assessments will be undertaken to identify the general fire precautions needed to ensure the safety of occupants in case of a fire. Procedures will be in place for reducing the likelihood of fire including fire detection and alarm systems.Those completing fire risk assessments, or providing advice in relation to them, will be appropriately qualified or experienced.

Staff and pupils will be familiarised with emergency evacuation procedures and risk assessments will be updated if there are any significant changes to the premises. All school procedures and provisions relating to fire safety are outlined in the school’s Fire Safety Policy.

Fire detection and alarm systems will have a weekly alarm test. In systems with multiple manual call points, a different one will be tested each week, so that all are eventually included in the schedule of testing over a period of time. The site manager will ensure all fire doors remain in efficient working order and should be regularly checked and maintained. The site manager will also check that any doors that are secured by a door fob will release on activation of the fire alarm to allow safe evacuation of the site.

**Catering**

The school currently have a SLA with School’s Catering at the Local Authority to provide meals they are responsible for ensuring that where food is served, there are adequate facilities in place for its hygienic preparation, serving and consumption..

**Cleaning**

The school currently have a SLA with Metroclean at the Local Authority to provide school cleaning and their policies will be adhered to at all times. The Site Manager will be responsible for managing cleaning staff and will ensure that classrooms and other parts of the school are maintained in a tidy, clean and hygienic state by monitoring standards. Adequate measures should be taken to prevent condensation and noxious fumes in kitchens and other rooms.

**Acoustics**

Learning spaces will be designed in a way to enable people to hear clearly, understand and concentrate, and there will be minimal disturbance from unwanted noise.

**Maintenance**

The SBM will ensure that there is a satisfactory standard and adequate maintenance of decoration by implementing the school’s planned maintenance programme, including statutory and good practice checks. Most of this work will take place during holiday periods, but smaller tasks may be completed during term time.

A number of documents will be held to assist in managing the estate and ensure it is safe for all users. These will include certificates and details of all statutory examinations, testing and remedial work.

**Furnishings**

The SBM, in consultation with the headteacher will ensure that the furniture and fittings are appropriately designed for the age and needs, including any SEND or medical conditions, of all pupils registered at the school.

**Grounds**

The SBM, in consultation with the headteacher, will ensure that there are appropriate arrangements for providing outside space for pupils to play and exercise safely. Under section 77 of The School Standards and Framework Act 1998, playing fields are protected from development.

Any playing fields which have been in use as playing fields for over 10 years are protected.

The condition of all playground areas will be monitored by the site manager and deficiencies will be addressed. The school will ensure, as far as reasonably practicable, that the premises are safe and without risks to health. This includes external areas and means of access to and from the school.

The school will ensure risks associated with individuals entering or leaving the school estate are assessed and the school perimeter will be secured and controlled accordingly. There will be clear segregation and delineation of pedestrian and vehicular access routes, and separation of parking and playground areas.

**Health and safety audit**

The SBM will ensure that the school premises are subject to a regular health and safety audit. The site manager will monitor that health and safety risk assessments are completed annually. Any risks identified will be formally recorded, assessed and managed. This will include taking appropriate preventative and protective measures. Risk assessments will be reviewed regularly and kept up to date. This could be as a result of changed circumstances such as bringing in new equipment, using an area for a different purpose or if someone reports a hazard.

As well as formal risk assessments undertaken by competent persons, staff and pupils will be encouraged to report risks, and there will be a system in place to formally record and act on issues raised.

Health and safety monitoring arrangements will be referred to when carrying out any repairs, maintenance and improvement projects.

**Electrical testing and inspection**

A PAT exercise will take place annually. The schematic of the supply route and primary distribution will be updated annually. Fixed wiring and all distribution boards and safety devices will be inspected annually. All fixed wiring and all distribution boards will be tested at least once every five years.

All electrical testing and inspection will be carried out by a competent person.

**Other equipment, systems and storage**

The school will ensure equipment used for physical education is safe to use. To ensure that equipment is maintained in a safe condition, it will be regularly inspected.

**Gas**

Gas and electrical safety posters will be displayed around the school, including classrooms. Appropriate signage, e.g. clearly visible hazard warning posters, will also be placed on storage room doors which are used for electrical and gas equipment.

The Site Manager will be made aware of the location of isolation valves, which are kept accessible at all times. In the event that electrical and gas supplies are shut off in an emergency, these will only be turned on again by a competent person.

All gas equipment will be inspected and maintained, in accordance with the manufacturer’s instructions, by the site manager. Equipment will also have confirmation of the approved test authority mark, indicating compliance with the relevant standard.

Gas pipes and flues will be made a suitable rigid material, e.g. metal, and these will be checked for any damage on a daily basis by the site manager. All gas appliances will have the ability to be isolated from the gas supply.

Carbon monoxide detectors will be installed by the site manager and inspected on a monthly basis.

Gas cylinders will not be stored on the school premises at any time.

Repairs to gas appliances and fixtures will be carried about by a Gas Safe registered engineer. Engineers carrying out repairs on gas equipment will be given sufficient space, access, ventilation and illumination to allow them to carry out the work safely.

**Monitoring and review**

This policy is reviewed annually by the headteacher and the site manager. The next scheduled review date for this policy is January 2027.

Any changes to this policy will be communicated to all relevant staff members.